## Slide 1: Nanocrystal Enhancement of Low-Cost Scintillators for PET Imaging Application
Declan Mahony, James Keaveney, Mark Blumenthal
University of Cape Town

## Slide 2: Roadmap
PET overview
Scintillator requirements
Available options
Preliminary CdS nanocrystal pixels
Characterisation methods
Current progress, challenges and next steps

## Slide 3: Overview of PET
Inject positron radiotracer
Preferential uptake in tumour
Line of response
Triangulate points
Image reconstruction

## Slide 4: South African Context
Equipment | Total | Density per 1 000 000
MRI | 12 | 0.20
CT | 51 | 0.86
PET | 3 | 0.05

## Slide 5: What makes a “good” scintillator?

## Slide 6: What makes a “good” scintillator?
High stopping power

## Slide 7: What makes a “good” scintillator?
High stopping power
High light yield

## Slide 8: What makes a “good” scintillator?
High stopping power
High light yield
Fast response times

## Slide 9: What makes a “good” scintillator?
High stopping power
High light yield
Fast response times
Optimal scintillation wavelength

## Slide 10: What makes a “good” scintillator?
High stopping power
High light yield
Fast response times
Optimal scintillation wavelength
Good energy resolution (ideally…)

## Slide 11: Current Landscape of Scintillators
Crystals
Plastics
Ceramics

## Slide 12: Current Landscape of Scintillators
Crystals
✅High Z
Plastics
Ceramics
✅High LY
✅Good ER
✅Fast RT
❌Expensive

## Slide 13: Current Landscape of Scintillators
Crystals
✅High Z
Plastics
❌Low Z
Ceramics
✅High LY
✅Good ER
✅Fast RT
❌Expensive
✅High LY
✅Fast RT
❌Poor ER
✅Cheaper…

## Slide 14: Current Landscape of Scintillators
Crystals
✅High Z
Plastics
❌Low Z
Ceramics
✅High LY
✅Good ER
✅Fast RT
❌Expensive
✅High LY
✅Fast RT
❌Poor ER
✅Cheaper…
✅High Z
❌Low LY
❌Fast RT
✅Good ER
✅Cheaper…

## Slide 15: Current Landscape of Scintillators
Crystals
✅High Z
Plastics
❌Low Z
Ceramics
✅High LY
✅Good ER
✅Fast RT
❌Expensive
✅High LY
✅Fast RT
❌Poor ER
✅Cheaper…
✅High Z
❌Low LY
❌Slow RT
✅Good ER
✅Cheaper…
NC Composites
✅High Z
⚠️Good LY?
✅Fast RT
✅Good ER
✅Inexpensive

## Slide 16: CdS Nanocrystals
0.05
0.10
0.20
0.30
0.40
0.60
Wt. % CdS
CdS epoxy composites

## Slide 17: Transmittance

## Slide 18: Transmittance
Industry Standard
CdS Composites

## Slide 19: Photoluminescence Spectroscopy

## Slide 20: Time Correlated Single Photon Counting

## Slide 21: TCSPC – CdS Samples
 | ~ Size (mm3) | ~ % CdS | (ns)
a) | 2x2x18 | 0.05 | 4.05
b) | 2x2x18 | 0.10 | 4.28
c) | 2x1x18 | 0.20 | 4.13
d) | 2x1x16 | 0.30 | 2.89
 | ~ Size (mm3) | ~ % CdS | 
a) | 2x2x18 | 0.05 | 4.05
b) | 2x2x18 | 0.10 | 4.28
c) | 2x1x18 | 0.20 | 4.13
d) | 2x1x16 | 0.30 | 2.89
Effective decay times
a)
b)
c)
d)

## Slide 22: Coincidence Time Resolution

## Slide 23: Coincidence Time Resolution: LYSO-LYSO

## Slide 24: Coincidence Time Resolution

## Slide 25: Coincidence Time Resolution

## Slide 26: Coincidence Time Resolution

## Slide 27: Coincidence Time Resolution: LYSO-CdS

## Slide 28: Coincidence Time Resolution: LYSO-Background

## Slide 29: Conclusions
Increased absorbance with wt.% CdS
CdS induced red-shift in PL
No gamma excitation
Questionable surface X-ray excitation

## Slide 30: Next Steps
Emission spectrum of NCs
PPO/POPOP doping
Urethane matrix
Quantum dots

## Slide 31: Excitation spectra for CdS samples

## Slide 32: TCSPC – Standard Samples
 | Sample | (ns) | (ns)
a) | LYSO | 40 | 38
b) | GAGG | 88 | 104
c) | GGAG | 60 | 212
d) | EJ232-Q | 1.8 | 1.6
 | Sample |  | 
a) | LYSO | 40 | 38
b) | GAGG | 88 | 104
c) | GGAG | 60 | 212
d) | EJ232-Q | 1.8 | 1.6
Effective decay times
a)
b)
c)
d)